## Documentation list_template
Table 50: Documentation list - Balance indicators for small-scale furnaces (template)
2 Indicators of the balancing |  | Data | Unit | Calculation | Measurement | Assumption | Explanation of data origin: measuring method, calculation path, source of the assumption
2.1 Biomass pre-treatment (system boundary > Biomass Pre-treatment in Fig 8.)
Thermal input of the fuel |  | … | kW | x
Total rated thermal input |  | … | kW | x
Storage and sieve loss |  | … | kW
Drying thermal power |  | … | kW
2.2 Biomass conversion I (system boundary > Biomass Conversion I in Fig. 8.)
Power of residues (thermal + chemical) |  | … | kW | x
Boiler efficiency |  | … | % | x
2.3 Total plant
Thermal plant efficiency |  | … | % | x
3 Plausibility check |  | Data | Unit | Calculation | Measurement | Assumption | Explanation of data origin: measuring method, calculation path, source of the assumption
3.1 Energy balance (system boundary: ...)
Input | Fuel power | … | kW | x
| Power of auxiliaries (energy delivered) | … | kW
| Energy input | … | kW | x
Output | Therm. power of plant / system | … | kW
| Power of residues (thermal + chemical) | … | kW
| Energy output | … | kW | x
3.2 Material balance (system boundary: ...)
Input | Mass flow of fuel | … | kg/h
| Mass flow of auxiliaries | … | kg/h
| Input mass flow | … | kg/h | x
Output | Mass flow of residues | … | kg/h
| Mass flow of exhaust gas / flue gas | … | kg/h
| Output mass flow | … | kg/h | x